dk;kZy; la;qDr lapkyd ,oa v/kh{kd xka/kh Lekjd fpfdRlky; jhok e-iz-

fufonk

2020&2021

vfLFk jksx foHkkx] ';ke 'kkg fpfdRlk egkfo|ky;] jhok esa vkFkksZLdksih] TokbaV fjIyslesaV lsV] bEIykUV rFkk vU; lftZdy lkefxz;ksa dh vkiwfrZ gsrq bZ&fufonk ¼f}rh; vkea=.k½

(E-Tender for supply of Joint Replacement, Arthroscopy set,  implants and other surgical items in the Department of Orthopaedics, Shyam Shah Medical College, Rewa (M.P.)

fufonk Øekad&19@2020&21						dher :- 5000@&

ONLINE TENDER SCHEDULE

bZ&fufonk foKfIr dz 19@2020&21

| SEQ NO | SCHEDULE | START DATE & TIME | EXPIRY DATE & TIME |
| --- | --- | --- | --- |
| 1 | PURCHASE OF TENDER ONLINE | 08-06-2020 11.00 AM | 22-06-2020 5.00 PM |
| 2 | PRE BID MEETING | 15-06-2020 11.00 AM | Office of Joint director cum superintendent GM Hospital Rewa |
| 3 | BID SUBMISSION ONLINE | 08-06-2020 11.00 AM | 23-06-2020 5.00 PM | _ |
| 4 | PHYSICAL BID SUBMISSION | 08-06-2020 11.00 AM | 24-06-2020 5.00 PM |  |
| 5 | MANDATORY SUBMISSION OPEN | 25-06-2020 12.30 PM onwards | _ | _ |
| 6 | TECHNICAL PROPOSAL OPEN | 25-06-2020 12.30 PM onwards | _ | _ |
| 7 | FINANCIAL BID OPEN | Ik`Fkd ls lwpuk nh tkosxhA | _ | _ |

bZ&esy%& jdsupdtgmhrewa@rediffmail.com,  Fax-07662&242104

laidZ%& 07662&242104]$91&9179705483]$91&9644695933]$91&8827730393]

fufonkdkj tks vkWuykbZu nLrkost iksVZy eas viyksM djas mUgh nLrkostksa dh gkMZdkWih Hkh fnukad 24-06-2020 dks lk;adky 05-00 cts rd dk;kZy; la;qDRk lapkyd ,ao v/kh{kd xak/kh Lekjd fpfdRlky; esa tek djsaA

iksVZy esa viyksM fd, tkus okys vfuok;Z nLrkostksa dh lwph tks iBuh; gks %&

- /kjksgj jkf'k :i;s 50000-00 vkWuykbZu tek dh jlhnA

- fufonk izi= gLrk{kj ,oa lhy lfgrA

- QeZ@laLFkk dk jftLVªs”kuA

- foRrh; o"kZ] 2017&18 ,oa 18&19 ¼,lslesaUV bZ;j 18&19 ,oa 19&20½ dk vk;dj fjVuZ tek djus dh jlhn½

- 100 :- ds uku&T;wfMf”k;y LVkEi ij uksVjkbTM ?kks"k.kk i=A

- iSu dkMZ A

- th-,l-Vh- jftLVªs”kuA

- oS/k Mªx yk;lsal@eSuqQSDpfjax yk;lsal

- vf/kd`r Mhyj dks fuekZrk daiuh }kjk tkjh v|ru vFkZjkbZts”ku ,ao eSuqQSDpfjax yk;lsal

- Okkf"kZd VuZ vksoj foRrh; o’kZ 2018&19 gsrq :- 25 yk[k vFkok vf/kd tks lh-,- }kjk tkjh fd;k x;k gksA¼dsoy izek.k i=½

- ISO/GMP/CE/FDA  izek.k i=A

vfLFk jksx foHkkx] ';ke 'kkg fpfdRlk egkfo|ky;] jhok ¼e-iz-½ esa vkFkksZLdksih] TokbaV fjIyslesaV lsV] bEIykUV rFkk vU; lftZdy lkefxz;ksa dh vkiwfrZ gsrq bZ&fufonk  ds fu;e ,oa 'krsZa

- fpfdRlk egkfo|ky; jhok ds v/khu vfLFk jksx foHkkx esa TokbaV fjIyslesaV] vkFkksZLdksih bEIykaV ,oa vU; lftZdy lkefxz;ksa ds dh vkiwfrZ gsrq bZ&fufonk vkaef=r dh tkrh gSA fufonk izi= osclkbZV https://mptenders.gov.in/ ij vkuykbZu Hkqxrku dj dz; fd;s tk ldsaxsA bls fpfdRlk egkfo|ky; jhok dh osclkbV http://www.ssmcrewa.com  esa Hkh ns[kk tk ldsxkA

- vkuykbZu fufonk tek djusa dh fu/kkZfjr vof/k ds i'pkr izkIr fufonk,W Lohdkj ugh dh tkosxhA vkuykbZu fufonk QkeZ dz; djus dk ewY; :- 5000-00 fu/kkZfjr gSa ;g jkf”k fdlh Hkh n”kk esa okilh ;ksX; ugh gSA

- fufonk ds lkFk vekurh jkf'k :i;s 50]000-00¼ipkl gtkj ek=½ vkWuykbZu tek djuh gksxhA vekur jkf”k ij fdlh Hkh izdkj dk C;kt ns; ugh gksxkA lQy fufonkdkj ls dz; dh tkus okyh lkexzh ds vuqekfur ewY; dk 5 izfr”kr ijQkWesZal xkjaVh vuqca/k djus ds iwoZ tek djuh gksxhA

- fufonkdkj }kjk ;fn fdlh vk;Ve esa ;fn njsa ugh Hkjh tkrh gSa] rks mlesa Zero dk mYys[k u fd;k tkos] D;ksafd Zero Mkyus ls og ,y&1 gks tkrk gSA

- izkbl fcM dsoy vkWuykbZu gh Hkjh tkos RkFkk Hkkjrh; eqnzk esa gh Lohdk;Z gksxhA

- d`i;k izkbZl fcM Hkjus ds igys leLr nLrkost ,ao Lisf”kfQds”ku /;kuiwoZd i<+ ,ao le> ysa] mlds Ik”pkr gh fufonk HkjsaA

- fufonkdkj dks vkWuykbZu dz; fd, gq, fufonk izi= ,oa mlds lkFk layXu dkxtkrksa ds izR;sd i`"B ij vius gLrk{kj dj lhy yxkdj viyksM djuk gksxkA

- fpfdRlky; dh Hk.Mkj Ø; lfefr dks fdlh Hkh vFkok leLr fufonkvksa dks dkj.k crkdj vekU; djus dk vf/kdkj gksxkA

- lkekU;r% U;wure ewY; nj dh fufonk dks Lohdkj fd;k tkosxk] rFkkfi Ø; lfefr 'kklufgr@tufgr esa lexz :i ls fopkj djrs gq;s vU;Fkk fu.kZ; ysus gsrq vf/kdkj lEiUu gksxhA

- eq[; dk;Zikyu vf/kdkjh ,ao vf/k’Bkrk] “;ke”kkg fpfdRlk egkfo|ky; jhok ds ikl fdlh Hkh fufonk dks xzkg~; djussssss vFkok ugh djus rFkk tufgr esa fufonk “krksZ esa iforZu djus dk vf/kdkj lqjf{kr jgsxkA

- fufonk ,d o"kZ vFkok vkxkeh uohu fufonk gksus rd izHkko”khy jgsxhA

- fufonk esa U;wure njksa dk mYys[k djsaA izLrqr ewY; njksa esa jkT; ’kklu ds fu;ekuqlkj yxus okys th-,l-Vh- dk mYys[k vyx ls fd;k tkuk vfuok;Z gSA

- fufonk Hkstus okys dks fufonk lkexzh dk ewY; vkWuykbZu miyC/k dkWye esa iwfrZ fd;k tkuk vfuok;Z gksxkA

- fufonk dk fuEu lfVZfQdsV miyC/k djkuk vfuok;Z gksxk %&

- DokfyVh daVªksy lfVZfQdsV tSls&ISO/GMP/CE/FDA

- vf/kd`r fodzsrk dk oS/k izek.k i=

- daiuh dk oS/k eSuqQSDpfjax Mªx yk;lsal

- fufonk lkexzh esa vafdr dh tkus okyh njksa ds lkFk bEIykaV~l ds fuekZrk dEiuh dk uke Li"V ,oa iw.kZ n”kkZuk vko”;d gSA

- fufonk vuqlkj pkgs x;s bEIykaV dk dz; vkns”k la;qDr lapkyd dk;kZYk; ls izkIr gksus ds mijkUr fufonkdkj dks iUnzg fnol ds vUnj iznk; djuk gksxkA vf/kd`r iznk;drkZ }kjk ekax vuqlkj mDr vof/k esa bEIykaV dk iznk; ugh fd;s tkus dh fLFkfr esa fcuk dksbZ lwpuk fn;s bEIykaV dk Ø; vU; fdlh ek/;e ls fd;k tkosxk ,oa mDr Ø; esa vkus okys ewY; varj dks tek /kjksgj jkf’k@yafcr ns;dksa ls olwy dj fy;k tk;sxk ftlds fy;s vki Lo;a ftEesnkj gksaxsA

- dz; vkns”k vuqlkj iznk; fd;s x;s bEIykaV ds ns;dksa dk Hkqxrku ctV vkoaVu izkIr gksus ,oa ns;d izLrqr djus dh fnukad ls ,d ekg ds vanj ns;dksa esa ;ksx =qfV vFkok vU; vkifRr ugha gksus dh fLFkfr esa ,d ekg ds i”pkr fd;k tkosxkA ns;d esa foyac gksus ij fdlh Hkh izdkj dk C;kt ns; ugh gksxkA

- iznk;drkZ dks bEIykaV ds lHkh izdkj dh lkbZt dk vyx&vyx ewY; u fy[kdj ,d gh vkSlr ewY; n”kkZuk gksxkA

- iznk;drkZ dks TokbaV fjIyslesaV bEIykaV dh vkiwfrZ Fkksd ek=k esa ugh djuk gS cfYd dsl nj dsl Qksu ls@bZ&esy@fyf[kr ekax i= Hksts tkus ij 07 fnol ds vUnj djuk gksxkA

iznk;drkZ dks TokbaV fjIyslesaV bEIykaV esa yxus okyk bULVweasVs”ku lsV ekaxs x;s bEIykaV ds lkFk vkWijs”ku ds fnu vkWijs”ku fFk;sVj esa ykuk gksxk rFkk bULVwesaVs”ku lsV dh dher ,oa vkus okys O;fDr dk Vh-,-@Mh-,- dk Hkqxrku fpfdRlky; }kjk ugh fd;k tk;sxkA

- fpfdRlky; dks ,d vkFkksZLdksih lsV ,oa ,d dwYgk rFkk ,d ?kqVuk tksM+ izR;kjksi.k lsV dh vko”;drk gS ftldh vkiwfrZ iznk;drkZ dks muds Lisf”kfQds”ku ds vuqlkj fu/kkZfjr nj ij ekaxkuqlkj ,d ckj esa djuh gskxhA

- iznk;drkZ dks vkFkksZLdksih bEIykaV ,oa vU; lftZdy lkexzh dh vkiwfrZ Fkksd ek=k esa ekaxkuqlkj le;&le; ij djuh gksxhA

- fufonk ds vuqeksfnr gksus ds mijkUr fufonkdkj }kjk ;fn vkiwfrZ esa ghyk&gokyh ;k Vky&eVksy djds foyEc fd;k tkrk gS] rks vko”;drk ds vuq:i [kqys cktkj ls [kjhn dh tkosxhA bles vf/kd Hkqxrku dh olwyh fufonkdkj ds ns;dks ls olwy dj fy;k tkosxkA blds ckotwn ;fn vf/kd Hkqxrku dh olwyh 'ks"k jg tkrh gS rks tek vekur jkf”k ls dkV fy;k tkosxkA

- iw.kZ fufonk esa ls ;fn fdlh fufonkdkj dks 50 izfr”kr ls vf/kd bD;wiesaV dh fufonk izkIr gksrh gS] rFkk ftu fufonkdkjksa dks de fufonk izkIRk gksus dh n”kk esa lIykbZ ls euk djus ij ,y&1 jsV ij lgefr nsus ij mldh lIYkkbZ yh tk ldsXkhA

- fufonkdkj dks jhok “kgj esa viuk ,d vf/kd`r izfrfuf/k fu;qDr djuk gksxk ftldks bEIykaV rFkk baLVªwesaVs”ku  lsV dh iwjh tkudkjh gksxh rFkk ftlls vko”;drkuqlkj bEIykaV dh ekax] lIykbZ] j[k&j[kko ;k fdlh Hkh izdkj dh vkdfLed vko”;drk gsrq rRdky lEidZ fd;k tk lds vFkok vkWijs”ku fFk;sVj esa cqykdj mlls vkWijs”ku esa bEIykaV yxkus laca/kh rduhfd lgk;rk yh tk ldsA fufonkdkj }kjk j[ks x;s vf/kd`r izfrfuf/k dks fpfdRlky; }kjk fdlh Hkh izdkj dk O;; ugha fn;k tk;sxkA

- vfLFkjksx foHkkx] ';ke 'kkg fpfdRlk egkfo|ky;] jhok ¼e-iz-½  esa vfLFk jksx foHkkx] ';ke 'kkg fpfdRlk egkfo|ky;] jhok ¼e-iz-½ esa vkFkksZLdksih] TokbaV fjIyslesaV lsV] bEIykUV rFkk vU; lftZdy lkefxz;ksa dh vkiwfrZ gsrq bZ&fufonk esa fdlh Hkh izdkj dk vfxze Hkqxrku ugha fd;k tkosxk rFkk fdlh Hkh jkf”k ij C;kt ns; ugha gksxkA

- fufonkvksa ds laca/k esa Ø; lfefr dk fu.kZ; lHkh fufonkdkjksa dks ekU; ,oa ca/kudkjh gksxkA

- lQy fufonkdkj dks dk;Z izkjEHk djus ds iwoZ :- 1000@& ds uku&T;wfMf”k;y LVkEi ij 15 fnol ds Hkhrj mijksDr 'krkZsa ds v/khu vuqca/k i= fu"ikfnr djuk gksxk ,oa vuqca/k fu"iknu i'pkr dk;kZns’k tkjh gksus ds 30 fnol ds Hkhrj iznk;xh izkjEHk djuh gksxhA

- iznk;drkZ dks bEIykaV dh iznk;xh dsanzh; Hk.Mkj] lat; xka/kh Le`fr fpfdRlky;] jhok esa gksxhA

- fdlh Hkh dkuwuh fookn dh fLFkfr essa fujkdj.k U;k;ky; {ks= jhok ds varxZr gksxkA

la;qDr lapkyd ,oa v/kh{kd]

xka/kh Lekjd fpfdRlky; jhok e-iz-

rduhdh fcM gsrq izi=%& ch

¼iw.kZ :i ls Hkj dj ,oa gLrk{kfjr dj fyQkQs dks lhy can djsa ,oa fyQkQs ij izi= ch Li"V :i ls mYysf[kr djsa½fufonkdkj }kjk rduhdh fcM gsrq izLrqr dh tkus okyh tkudkjh

| l- Ø- | rduhdh ekin.M gsrq vfuok;Z nLrkost | fufonkdkj ds }kjk fVd fd;k tkosaA i`"B dz- n'kkZ;sa | ijh{k.k lfefr }kjk fVd fd;k tkosaA |
| --- | --- | --- | --- |
|  |  | gka | ugh | gka | ugh |
|  | /kjksgj jkf'k :i;s 50000-00 vkWuykbZu tek dh jlhnA |  |  |  |  |
|  | fufonk izi= gLrk{kj ,oa lhy lfgrA |  |  |  |  |
|  | QeZ@laLFkk dk jftLVªs”kuA |  |  |  |  |
|  | foRrh; o"kZ] 2017&2018 ,ao 2018&19 ¼,lslesaUV bZ;j 2018&19 ,oa 19&20½ dk vk;dj fjVuZ tek djus dh jlhn½ |  |  |  |  |
|  | 100 :- ds uku&T;wfMf”k;y LVkEi ij uksVjkbTM ?kks"k.kk i=A |  |  |  |  |
|  | iSu dkMZA |  |  |  |  |
|  | th-,l-Vh- jftLVªs”kuA |  |  |  |  |
|  | oS/k Mªx yk;lsal@eSuqQSDpfjax yk;lsal |  |  |  |  |
|  | vf/kd`r Mhyj dks fuekZrk daiuh }kjk tkjh v¦ru vFkZjkbZts”ku ,ao eSuqQSDpfjax yk;lsal |  |  |  |  |
|  | Okkf"kZd VuZ vksoj foRrh; o’kZ 2018&19 gsrq :- 25 yk[k vFkok vf/kd tks lh-,- }kjk tkjh fd;k x;k gksA¼dsoy izek.k i=½ |  |  |  |  |
|  | ISO/GMP/CE/FDA izek.k i=A |  |  |  |  |

fufonkdRrkZ laLFkk izeq[k ds gLrk{kj ----------------------------------------------------------

fufonkdRrkZ laLFkk izeq[k dk uke -----------------------------------------------------------------

¼Li"V v{kjkas½

laLFkk dk uke ,oa iw.kZ irk ,oa lhy -----------------------------------------------------------

&?kks"k.kk&i=&

¼100@& :i;s ds uku&T;wfMfl;y LVkEi isij ij uksVjkbZTM djkdj izLrqr fd;k tk;s ½

- eS@ge Hkkjr dk@ds ukxfjd gWw@gSA

- eSa@ge Hkkjrh; lafonk vf/kfu;e ds vuqlkj fufonk dk;Z ds fy, l{ke gwa@gSaA

- eq>s@gesa e-iz- 'kklu ds fdlh Hkh foHkkx }kjk fufonkdk;Z ls cfg"d`r ugha fd;k x;k gSA

- eS@ge fdlh ,sls dkUVsªDVj] tks fd e-iz- 'kklu ds fdlh foHkkx }kjk cfg"d`r fd;k x;k gks] u rks vfHkdRrkZ gWw@gS vkSj u gh mlds fy;s dk;Z djrk gWw@djrs gSA

- esjs@gekjs }kjk fufonk dh 'krksZ ds vykok vU; dksbZ 'krsZ izLrqr ugh dh x;h gSA ;fn vU; dksbZ 'krsZ izLrqr dh x;h gS] rks mls vekU; ekuk tk;sA

- ';ke'kkg fpfdRlk egkfo|ky;@lat; xka/kh Le`fr fpfdRlky;@xka/kh Lekjd fpfdRlky; jhok ds fdlh vf/kdkjh@deZpkjh ls laca/k ugha gSA

- esjs @gekjs }kjk bl fufonk esas Hkjh ewY; nj ls de ewY; nj dh fufonk e/;izns’k jkT; ds fdlh laLFkk ;k dk;kZy; esas izLrqr ugh dh xbZ gSA

- esjs@gekjs }kjk lIykbZ fd, x, midj.kksa dh xq.koRrk dh ftEesnkjh esjh@gekjh gksxhA

- gekjh laLFkk ds fo:} lh-ch-vkbZ0@yksdk;qDr@bZ-vks-MCY;w@”kkldh; dk;kZy; bR;kfn esa dksbZ tkpa yfacr ugh gS vkSj u gh l{ke U;k;ky; es vkijkf/kd izdj.k ntZ gS vkSj u gh nf.Mr fd;k x;k gSA

- esjs }kjk izLrqr tkudkjh lgh gSA vlR; ik;s tkus ij esjs fo:) fof/klEer dk;Zokgh fd, tkus ij eSa Lo;a mRRjnk;h jgwaxkA

- esjs@gekjs mij Hkkjr@jkT; “kklu dks ns; dksbZ Hkh VSDl cdk;k ugh gSA

fnukad%										¼fufonkdkj ds gLrk{kj½

uke& --------------------------------------------------------------------

iwjk irk& ------------------------------------------------------------

Qksu ,oa eksck- u-& ------------------------------------------

xokgksa ds uke] irs ,oa gLrk{kj

(E-Tender for supply of Joint Replacement, Arthroscopy set,  implants  and other surgical items in the Department of Orthopaedics, Shyam Shah Medical College, Rewa (M.P.)

|  | ARTHROSCOPY SET: All the equipments must be USFDA approved. The tenderers must quote for 3 years onsite warranty from the date of completion of the satisfactory installation. The warranty charges shall not be quoted separately otherwise the offer shall be summarily rejected. Also the bidders should submit their quote for subsequent 3 years on site AMC/CMC (include free labour, repair other services & spare parts). The supplier will ensure regular maintenance service by the appropriate engineer having the technical know-how of the equipment. |
| --- | --- |
|  | Full High Definition Digital Camera Head: Digital ,Triple chip, full high definition, microlens CCD Camera (Charged Couple device). Compatible with Video Arthroscopes as well as direct view scopes. 3 buttons for remote control of the CCU and accessories. Able to control 6 functions on the menu using these 3 buttons inbuilt zoom facility, regardless of telescope used. Automatic optimization of all settings. Digital signals processing, modes of operation automatic and manual, PAL compatible. White balancing possible from the CCU as well as from the sterile field. Minimum Signal to Noise ratio of 60 decibels (dB). SDI Output, BNC, S-VHS and RGB outputs. Leakage current not more than 25 microamps in control unit and not more than 10 microamps in camera head Weight not exceeding 165 grams, Camera head cable minimum 12ft. C-Mount Zoom coupler 19.5 mm. |
|  | Full High Definition Camera Control Unit: ACG Microprocessor controlled Video Inputs : S-Video, (Y/C), Composite, HD-SDI, IEEE-1394 Video Outputs : S-Video, (Y/C), Composite, HD-SDI, DVI Video Formats : NTSC and PAL USB 2.0 Ports : Type A receptacle, software compatible with NS16C550 Video recording: on pendrive through USB port Parallel Port : Bidirectional Input / output with female DB-25 Receptacle Serial Port : UART Port with male DB- 9 receptacle VGA Port : 15-Pin female Ethernet Ports : Auto select 10Base-T/100 Base-TX Storage : Supports read/ write of USB flash media of different sizes; CD-R/RW; 650 MB or700 MB. Still Image File Formats : 24-bit RGB bitmap, 24-bit JPEG Still Image Resolution : NTSC / PAL 1920 x 1080i@ 24 bit color depth 16.77 million True Colour Motion Video File Format : MPED1, MPEG2, MPEG4 Power Requirements : Input Voltage: 100-240 VAC, 50/60 Hz @ 90VA Processor : Intel® Pentium® M 1.6 GHz Operating System : Microsoft® embedded Windows® XP or advanced |
|  | High Definition Medical Grade Monitor: The system should have: Medical grade LCD monitor, flat screen Ability to display High Definition Resolution of 1920 X 1080i Wide Screen and aspect ratio of 16:9 Compact control buttons on the sides of the panel Screen diagonal 24” Monitor stand compatible with monitor |
|  | LED Light Source Specs: Light Source Type LED (Light Emitting Diode) Color Temperature 7000˚ K LED Life 30,000 hours (typical) Light GuideAdaptorTurret type to fit your choice of light cable Brightness Control 0-100% Dimming Input Voltage 100-240V AC, 50/60 Hz Rated Power 90 watt Dimensions 11.22" W x 4.49" H x 13.23" D Weight 8.05 lbs / 3.42 kg |
|  | Fiber Optic Light Cable: Universal fibre optic cable with adapters. Not less than 5mm thick and 10 ft long |
|  | Arthroscopy Set(Arthroscopic, Sheath and Obturator): Wide Angle, Direct View High Definition Arthroscopic Light Guide insertion on opposite side of the direction of view with a J-lock fixation for cannula. Working Length of Not more than 120mm Optimal centre-to-edge resolution for enhanced picture quality Angle of view: 30 degree Diameter 2.7 Fiber optic light transmission incorporated Standard ocular window for coupling the camera head Scratch resistance sapphire quoted tip lens Advanced Rod lens system for optimum brightness, contrast and definition Arthroscopies should be supplied with compatible cannulas high flow, double valve, fully rotatable with fenestrated tip & conical and blunt tip obturator. Sheath- 3mm to 4mm, high flow diagnostic cannula, double valve, fully rotatable cannula with fenestrated tip. Trocar-3mm to 4mm conical obturator to fit with cannula. |
|  | Arthroscopy Set(Arthroscopic, Sheath and Obturator): Wide Angle, Direct View High Definition Arthroscopic Light Guide insertion on opposite side of the direction of view with a J-lock fixation for cannula. Working Length of Not more than 160mm Optimal centre-to-edge resolution for enhanced picture quality Angle of view: 70 degree Diameter 4mm Fiber optic light transmission incorporated Standard ocular window for coupling the camera head Scratch resistance sapphire quoted tip lens Advanced Rod lens system for optimum brightness, contrast and definition Arthroscopies should be supplied with compatible cannulas high flow, double valve, fully rotatable with fenestrated tip & conical and blunt tip obturator. Sheath- 5.95 to 6.0mm, high flow diagnostic cannula, double valve, fully rotatable cannula with fenestrated tip. Trocar-4.5mm conical obturator to fit with cannula. |
|  | Arthroscopic Resection Shaver System: The Shaver system should comprise of Controller Console, Shaver Hand-piece, and Foot pedal. Controller Unit The Controller console should have receptacles for both Shaver hand-piece, Foot Pedal and also other powered instrumentation The console screen should capture all information pertaining to minimum, maximum and set speeds forinstalled blade type; horizontal bar graph of bladespeed relative to range; blade direction; diagnosticinformation. Should provide control for momentary push switches for increasing and decreasing speed setting. The Unit should have 2 Modes for Normal and Aggressive Resection so as to balance efficacy with safety. The Console should provide variable rpm ranging between 100rpm to 10,000 rpm as per the blade or burs used. The Motor should offer Forward, Reverse and Oscillation Mode for Resection. Shaver Hand Piece The autoclavable shaver hand piece, which is compact, lightweight and ergonomically designed, with hand control. The connecting cable should be autoclavable and replaceable with length of approx. 10Ft. The hand piece should be not more than 8 Inches length and 460gms. The hand piece should have suction control lever. The Shaver Hand piece should have safety mechanism of Blade Window Lock to avoid any unintentional tissue damages on pull out. The Safety feature for window locking should be accessible and controllable from shaver hand piece. The Shaver hand piece should have push-button motor controls: Forward, Reverse Oscillate, and Blade and Window Lock. The Shaver should offer Maximum torque not be less than 32oz.in The shaver should be supplied with compatible shaver sterilization case. The Shaver should be able to use any electro Blades, if desired. Input voltage of 100 to 240V, 50/60 Hz power consumption not more than 350VA. Foot Pedal The variable speed foot pedal should be sturdy with a long connecting cable. The foot pedal controls should include three standard operating modes, i.e. Forward, Reverse and Oscillation. The foot pedal should offer a blade window locking mode for enhanced safety during withdrawal of hand piece from joint space with blade mounted. |
|  | Consumables Shaver Blades |
|  | Consumables Shaver Burs |
|  | Arthroscopy Fluid Management System: The Fluid management System offers to maintain& control intra-articular pressure regardless of varying outflow rates. The system can also be used with any arthroscopic inflow cannula and should include main control unit, disposable tubing sets, a wireless remote control, two Fluid Level Sensors The control unit should not require the user to increase distension pressure to achieve high flow rates. Outflow may be adjusted while maintaining the lowest distension pressure needed Flow rate should be change as per operating cannula connection The Unit should have a LCD Display and should clearly depict High flow, Medium floe and Low Flows. Maximum flow rate of not less than 2.5 ltr/min for procedural speed and efficiency Automatic Joint pressure maintenance up-to 150 mmHg The unit should have receptacles for Remote and Irrigation Set Insertions. Should be supplied with remote foot pedal for easy operation of wash function. Must be supplied with Disposable tube sets for inflow only (30pcs). Must be supplied with Disposable Tube sets for inflow and outflow (30pcs.). Wireless remote control for full system control from the sterile field. Should be stop, start, lavage start/Stop, increase & decrease flow limit, increase & decrease pressure. Operating System: Microsoft® embedded Windows® XP |
|  | Radiofrequency Ablation system: Controls on hand piece Multiple distinct power levels Impedence detection technology User friendly display Powerful generator with output of 400 watts. Bendable probes with all tips described in printed product manual. For use in arthroscopic surgery |
|  | Imported trolley |
|  | Radio frequency energy probes: For Knee Arthroscopy: 1. Probes for Menisectomy – 90° 2. Probes for posterior menisectomy 50 degrees. 3. Probes for Articular Cartilage Debridement Ablation. 4. Probes for soft tissue deibridement – ablation. For Shoulder Arthroscopy: 1. Subacromial decompression 90° ablation 2. Capsular release ablation probes |
|  | ARTHOSCOPIC HAND INSTRUMENTS AND IMPLANTS |
|  | Knee Arthoscopy |
|  | Basket Punch Duckbill straight Tip Profile – 2.52mm, Bite Width-3.17mm, Tip Width-5.05mm |
|  | Basket punch Duckbill upbiter Tip Profile – 2.52mm, Bite Width-3.17mm, Tip Width-5.05mm |
|  | Basket punch Duckbill upbiter curved right – 2.52mm, Bite Width-3.17mm, Tip Width- 5.05mm |
|  | Basket punch Duckbill upbiter curved left – 2.52mm, Bite Width-3.17mm, Tip Width-5.05mm |
|  | Basket Punch Narrowline Straight 1.9mm, Bite width- 1.67mm, Tip width-2.89mm |
|  | Posterior Punch Upbiter Tip Profile -2.46mm, Bite width-2.18mm, Tip width-4.0mm |
|  | Posterior Punch Straight 2.46mm, Bite width-2.18mm, Tip width-4.0mm |
|  | Basket Punch - scoop 1.5mm Upbiter Tip profile-2.28mm,Bite width-1.59mm, Tip Width-3.88mm |
|  | Basket Punches,90 deg. Rotary,cigar handle with a 3.4mm bite in left and Right. |
|  | Basket Punch – Stingrey backbiter Left – Tip profile – 3.93mm, Bite width-2.38mm, Tip width-5.58mm |
|  | Basket Punch – Stingray backbiter Right – Tip profile – 3.93mm, Bite width-2.38mm, Tip width-5.58mm |
|  | Suction Punch – 2.5mm, straight with long handle |
|  | Grasper All grasper should have an infinite position sliding lock mechanism that hold tissue firmly without tearing and slipping – even in the tightest area. Pitbull Loose body Grasper with sliding lock mechani |
|  | Scissor Punches should be straight ,loop handle |
|  | Scissor Punches Should be 20deg. Hooked Left |
|  | Scissor Punches should be 20deg. Hooked Right |
|  | Probe Straight |
|  | 3.0mm Heavy hook with handle |
|  | Linear Instruments Fifteen-Unit Sterilization Trey |
|  | Fibrewire suture size no. 2 to 5 |
|  | Polyester size no. 2 to 5 |
|  | Normal saline 3 liters pack |
|  | Meniscal repair system of meniscal tear(disposable) |
|  | Meniscal needle with continuous fibre wire needle |
|  | Shoulder cannula with obturator Shoulder cannula threaded inner diameter 8-8.5mm & 6-6.5mm,Length 8cm with cannulated obturator /dilator |
|  | Puncture needle with obturator Puncture needle with obturator for use with guide wire |
|  | Guide wire Guide wire length 30cm,dia less then 1mm |
|  | Dilator/switching stick cannulated Dilator/switching stick cannulated diameter 3.5-4mm length nt less than 30cm |
|  | Half sheath/half pipe Half sheath /Half pipe for easy switching and mauevaring of instruments long 95cm length and short 80cm length |
|  | Suture Lasso system Handle for use with monofilament thread with reusable suture attachments , wheel attachment and wheel. Wheel attachment and wheel. |
|  | Reusable Suture attachments for use with Handle Suture attachment distal tip curved upwards straight 5,7 & 8 mm in height. Suture attachment hook shaped distal tip curved upwards straight 8 , 8.7 & 10mm in height. Suture attachment hook shaped distal tip angled 30deg right and left 8 mm in height. Cleaning adaptor for suture attachments. |
|  | Suture forceps for Punching soft tissue and suture management Suture forceps curved upwards,working length not less than 14cm. Suture forceps straight working length not less than 14cm Suture forceps curved to left also curved to left in sheath working length not less than 14cm. Suture forceps curved to right also curved to right in sheath working length not less than 14cm. Suture forceps retrograde opening also curved upwards in sheath working length not less than 14cm. |
|  | Suture Hook Suture Hook with eyelet straight, curved to left and curved to Right. |
|  | Suture cutte Suture cutter working length not less than 14cm. Knot Pusher working length not less than 14cm. |
|  | Thread catcher Thread catcher working length not less than 14cmm. |
|  | Knot Pusher Knot Pusher working length not less than 14cm. |
|  | Knot Pusher and Suture cutter Knot Pusher and Suture cutter with working length not less than 14cm consisting of blade,insert and handle. |
|  | Punches Punch through cutting cross toothed cutting width 3mm or more curved upwards 15-30deg working length not less than 14cm. Punch through cutting cross toothed cutting width 3mm or more straight jaws, sheath curved 15-30deg upeards, working length not less than 14cm. |
|  | Grasper Foreign body grasper aggressive straight jaws, working length not less than 14cm with and without ratchet. Sture grasper straight, curved to right 30-45deg and curved to left 30 to 45deg, working length not less than 14cc. |
|  | Elevator Elevator, width 4mm, curved 15deg downwards,also curved downwards in sheath working length not less than 14cm. Elevator, width 4mm, curved 30deg downwards,also curved downwards in sheath working length not less than 14cm. Elevator, width 4mm, curved 15deg downwards blade turned 180deg , also curved downwards in sheath working length not less than 14cm. Elevator, width 4mm, curved 30deg downwards blade turned 180deg , also curved downwards in sheath working length not less than 14cm. Elevator, width 4mm, curved 15deg downwards, working length not less than 14cm. Elevator, width 4mm, curved 30deg downwards, working length not less than 14cm. |
|  | Rasp S.L.A.P. Rasp, with 4.5mm, curved 30deg downwards, also curved downwards in sheath, working length not less than 14cm. Rasp Double sided can be used as Glenoid as well as S.L.A.P rasp,with 4.5mm,curved 30deg downwards, also curved downwards in sheath, working length not less than 14cm. Glenoid Rasp width 5.5mm 30deg curved upwards working length not less than 14cm. |
|  | Biceps Biter for Biceps Tenodesis Instrument for simple and precise tenotomy of the biceps tendon and/or biceps tenodesis,combined cutting and grasping instrument for artheoscopic terminal cutting of biceps tendon for the left and right shoulder, working length not less than 14 cm. |
|  | 5.5 mm bio-absorbable anchor with thread |
|  | All PEEK anchor for double & single row cuff repair.Dia 4.5,5.5 & 6.5 mm |
|  | Suture passer 45 degree left and right |
|  | Suture passer 90 degree left and right |
|  | Suture shuttle needle. |
|  | UHMW # 2 number white/coloured suture with needles |
|  | UHMW # 2 number stripped colour suture with needles |
|  | BONE CEMENT |
|  | Bone cement with low viscosity 20g. |
|  | Bone cement with medium viscosity 20g. |
|  | Bone cement with high viscosity 20g. |
|  | Bone cement with low viscosity 40g. |
|  | Bone cement with medium viscosity 40g. |
|  | Bone cement with high viscosity 40g. |
|  | Bone cement with Gentamycin, low viscosity 20g. |
|  | Bone cement with Gentamycin, medium viscosity 20g. |
|  | Bone cement with Gentamycin, high viscosity 20g. |
|  | Bone cement with Gentamycin, low viscosity 40g. |
|  | Bone cement with Gentamycin,medium viscosity 40g. |
|  | Bone cement with Gentamycin,high viscosity 40g. |
|  | Bone cement with Gentamycin+clindamycin, 40g. |
|  | Bone cement with Gentamycin+vancomycin,40g. |
|  | Bone cement with Tobramycin, 40g. |
|  | Bone cement mixing bawl with spatula,SS |
|  | Disposable cement gun. |
|  | Re-usable vacuum mixing Cement Gun set, (Autoclavable) Re-usable cement gun with vacuum mixing (Autoclavable). Accessories for vacuum mixing cement gun. Vacuum pump. |
|  | HIP REPLACEMENT SYSTEM |
|  | Non cemented Bipolar Hip Prosthesis (Modular Type) Cup & Head various Sizes with various neck length. Non cemented Bipolar Hip Prosthesis (Modular Type) HA coated femoral Stem various Sizes |
|  | Non cemented Bipolar Hip Prosthesis Non cemented Bipolar Hip Prosthesis (Modular Type)Cup & Head various Sizes with various size neck length. Non cemented Bipolar Hip Prosthesis (Modular Type) Porous coated femoral Stem various Sizes . |
|  | Basic Cemented Total Hip Replacement Instrumentation set |
|  | Basic Cemented Total Hip System Total Hip Acetabular cups various sizes Total hip Metal Head Dia 22,26,28mm with various neck length Femoral stem various sizes. Stem centralizer Cement restrictor |
|  | Basic Cemented Total Hip System with LPW Modular Stem (Stainless Steel) Smal, Medium , Large ,Double tappered,Highly Polished,Collar Less,Self Centering, Variable Offsets. Modular Internal Head 22 ,26,28 mm (Stainless Steel) -with various neck length. Modular THR 10 Degree Acetabular cup with LPW: Stem centralizer Cement restrictor |
|  | BASIC Cementless Hip System Cementless Hip System fully HA Coated Titanium alloy femoral stem with various Sizes. Cementless Hip System metal head- 28 mm with variable neck length. Cementless Hip System Acetabular cup Cementless poro Coated with option of screws. Cementless Hip System Acetabular highly crosslink Poly cup liner with 10 Degree LPW different sizes. Bone screw to fix the cup. |
|  | BASIC Cementless Hip System Cementless Hip System Porous Coated Titanium alloy femoral stem with various Sizes. Cementless Hip System metal head- 28 mm with variable neck length. Cementless Hip System Acetabular cup Cementless poro Coated with option of screws. Cementless Hip System Acetabular highly crosslink Poly cup liner with 10 Degree LPW different sizes. Bone screw to fix the cup. |
|  | BASIC Cementless Hip System Cementless Hip System proximal HA Coated Titanium alloy femoral stem(Double tappered)various sizes. Cementless Hip System metal head- 28 mm with variable neck length. Cementless Hip System Acetabular cup Cementless HA Coated with option of screws. Cementless Hip System Acetabular highly crosslink Poly cup liner with 10 Degree LPW different sizes. Bone screw to fix the cup. |
|  | Advanced Cementless Hip System Cementless Hip System HA /PORO coated femoral stem,various sizes. Cementless Hip System Metal head- 32,36 mm with variable neck length. Cementless Hip System acetabular cup - HA/PORO coated with option of screws, Should accomodate 32,36 mm head with same cup. Cementless Hip System acetabular highly crosslink polycup liner with 10 Degree LPW different sizes,should Accommodate 32,36 head. Bone screw to fix the cup. |
|  | Advanced Cementless Hip System Cementless Hip System HA/PORO Coated femoral stem, different sizes. Cementless Hip System ceramic head (Bilox-Delta)- 32,36 mm with variable neck length. Cementless Hip System acetabular cup - HA/PORO coated with option of screws, Should accomodate 32,36 mm head with same cup. Cementless Hip System acetabular highly crosslink poly cup liner with 10 Degree LPW different sizes,should Accommodate 32,36 head. Bone screw to fix the cup. |
|  | Advanced Cementless Hip System Cementless Hip System HA/PORO Coated femoral stem, different sizes. Cementless Hip System ceramic head (Bilox-Delta)- 32,36 mm with variable neck length. Cementless Hip System acetabular cup - HA/PORO coated with option of screws, Should accomodate 32,36 mm head with same cup. Cementless Hip System acetabular ceramic liner,should Accommodate 32,36 head. Bone screw to fix the cup. |
|  | High performance Cementless Hip System PRIMARY FEMORAL STEM:- Non cemented primary femoral tapered short,rounded tipped short stem made of titanium alloy porocoated with layer of HA allowing preservation of femoral neck. NON CEMENTED ACETABULAR CUP:-NonCemented hemispherical acetabular cup made of titanium alloy with peripheral anti rotation fins with inbuilt ceramic liner made of zirconia & alumina, with different diameters. CERAMIC FEMORAL HEAD FOR CUP:-Ceramic femoral head with various sizes. FEMORAL ADAPTOR SLEEVE:- Femoral adaptor sleeve made of titanium alloy with clean taper fit and compatible with the inner ceramic taper of the femoral head with different sizes |
|  | High performance Cementless Hip System UNCEMENTED FEMORAL STEM :- Uncemented primary femoral tapered blade style stem made of titanium alloy with poro coating with high friction titanium coating. with anterior & posterior longitudinal flute, Should be proximal femoral bone preserving. Bilox- Delta ceramic head- 32,36 mm with variable neck length. Uncemented hip system acetabular cup HA/PORO coated with option of screws, Should accomodate 32,36 mm head with same cup. Uncemented hip system acetabular highly crosslink poly cup liner with 10 Degree LPW,various sizes, should Accommodate 32,36 head. Bone screw to fix the cup. |
|  | High performance Cementless Hip System Uncemented hip system HA/PORO coated femoral stem,various sizes. Bilox-Delta ceramic head- 32,36 mm with variable neck length. Uncemented trabecular metal cup different sizes accommodate large head with screw option. Uncemented hip system Acetabular highly crosslink Polycup liner with 10 Degree LPW ,various sizes,should Accommodate 32,36 head. Bone screw to fix the cup. |
|  | High performance Cementless Hip System Uncemented Femoral Stem,Proximal Sleeve,Femoral Head--Femoral Head: 36 mm ceremic head of alumina & zerconia with different neck length. stem:-Noncemented proximal loading option Titanium Alloy, Tapered with coronal slot & Distal flutes ,Variable Neck Length diameter & offset.sleeve:-porocoated proximal femoral sleeve with locking mechanism with femoral stem ,various sizes. Noncemented titanium acetabular cup with gription poro coating with locking mechanism for liner,various sizes with screw locking option. Highly crosslink Poly cup liner with 10 Degree LPW different sizes,should Accommodate 32,36 head. Bone screw to fix the cup. |
|  | Revision Cemented Hip System Cemented long Stem ,various sizes & offsets. Acetabular cup with LPW. Large diameter Head 32,36 Stem centralizer Cement restrictor |
|  | Revision Cementless Hip System Revision Uncemented Acetabular Cup :- Multi hole titanium alloy actebular shells with a full 180 degree hemisphere poro coated with option of multiple screw holes for fixation with options to fit all liners (Metal,ceramic & poly) of various sizes . Revision Acetabular Screw:- 5.5 Titanium Alloy Acetabular revision screws for peripheral area of cup in various sizes. 6.5 mm Titanium self tapping cancellous screw for use in central area of the cup. Uncemented Hip System Acetabular highly crosslink Poly Cup Liner with 10 Degree LPW ,various sizes,should Accommodate 32,36 head. Ceramic femoral head for cup:- Ceramic femoral head made of alumina & zirconia with various sizes. Distally Interlocked Femoral Reconstruction Revision Hip System- HA Coated Distal locking option with various diameter & length with the provision of reconstruction of trochanter & cerclage cable hole. Distal Interlocked Screw--Titanium Distal locking self tapping various sizes. |
|  | Cementless Acetabular Reconstruction system Acetabular Reconstruction system-Acetabular reconstruction titanium ring with HA coated acetabular shell with option of multiple central & peripheral screws with corresponding screws(8 screws). Posteriorly lipped highly crosslinked poly liner-various sizes. Bilox-Delta ceramic femoral head for cup, various sizes. Femoral Revision System-Distally fixed revision femoral stem, porous coated,with calcar replacement options different diameter. Acetabular Mesh,SS Acetabular Mesh,Titanium Femoral mesh,Titanium Acetabular Cage, various sizes,Titanium |
|  | KNEE REPLACEMENT SYSTEM |
|  | Basic TKR Pcl sacrificing Instrumentation set |
|  | Basic TKR Pcl sacrificing Femoral Component ,Co-Cr,various sizes Tibial Component,Titanium Alloy, various sizes Tibial insert, various sizes Patellar Button, various sizes |
|  | High flex knee system PS Total Condylar, PCL substituting ,Fixed Bearing / Mobile Bearing with the provision of high Flex Knee system consist of following Components:- Femoral Component,Tibial component,Tibial Insert. |
|  | HIGH FLEX KNEE SYSTEM CR Cruciate retaining high flexion knee system consist of following Components:- Femoral Component, Titanium Tibial Tray , Highly cross linked poly insert . |
|  | Advanced Knee System Posterior stabilized fixed bearing femoral components with ability to attach extender stems . Highly crosslinked poly insert with locking mechanism ,with option of both cruciate substituting and retaining various sizes. Co-Cr tibial tray with ability to attach extention stem ,various sizes. Patella along with three pegs. |
|  | Patient specific Total knee Prosthesis:-consists of FEMORAL & TIBIAL component,TIBIAL INSERT. The TKR design should be patient 's own CT or MRI based ,the mechanical based alignment to be matched with patient's own mechanical axis,the cutting Block must provide patient's own reference for distal femoral & proximal tibial cut,it should have robust design and should have faster turn around time(less than 4 weeks). |
|  | Revision knee system Semi constraint total knee prosthesis:- Femoral component with the ability to accept any kind of metal augments & offset extension stem. Femoral metal augment for distal & posterior femur-various sizes Femoral extension stem-various offset & sizes Tibial component with ability to accept varoius sizes tibial augmentation blocks,wedges & extension stem . Semi constraint tibial knee inserts -all sizes Metal tibial wages-step,hemi & full of various sizes and thickness Tibial extension stem-various offset & sizes |
|  | Semi constraint total knee prosthesis System Semi constraint total knee prosthesis:- Femoral component with the ability to accept any kind of poro coated metaphyseal sleeves & offset extension stem. Metaphyseal porocoated femoral sleeves,various sizes. Femoral extension stem-various offset & sizes Semi constraint mobile bearing tibial knee inserts -all sizes Tibial component -mobile bearing tray with ability to accept varoius sizes poro coated metaphyseal sleeves & extension stem . Metaphyseal porocoated tibial sleeves,various sizes. Tibial extension stem-various offset & sizes |
|  | Cable wiring system SS Cable wire with sleeves, SS Sleeve for cable wire-SS |
|  | Cable wiring system Co-Cr Cable wire with sleeves, Co-Cr Sleeve for cable wire-Co-Cr |
|  | SHOULDER REPLACEMENT SYSTEM |
|  | Hemi -shoulder Arthroplasty. Neer Prosthesis - Fixed Shoulder various Sizes. |
|  | Modular hemi shoulder Set Hemi-shoulder stem,Co-Cr . Hemi-shoulder Humeral Head |
|  | Total Shoulder replacement prosthesis system Total shoulder humeral stem with holes in fins for muscle and soft tissue reconstruction-cemented/uncemented. Humeral Head. Glenoid prosthesis crosslinked poly. |
|  | Reverse shoulder prosthesis system Cemented Humeral Stem with 0 - 10 Degree Retroversion,Co-Cr. Non Cemented Humeral Stem with 0 - 10 Degree Retroversion,Co-Cr. High mobility humeral polythelene cup. Glenoid implant with fixation screws. Locking/Non Locking fixation screws. |
|  | ELBOW REPLACEMENT SYSTEM |
|  | Elbow Arthroplasty Elbow Prosthesis- Total Elbow Implant with accessories i)Humeral Component- various sizes Ulna Component-various sizes |
|  | Pulse Lavage Pulse Lavage wound debridement system (Disposable battery operated with concurrent suction and fan spray tip) |
|  | Spacers for hip and knee Antibiotic Spacers for hip joint(High resistance bone cement body loaded with antibiotic ), All sizes. Antibiotic Spacers for knee joint ,All sizes |
|  | STERILE DISPOSABLE DRAPES (All drapes should be single use with well packed in peel off pouche with inbuilt Ethylene Oxide(E.O) indicator having shelf life not less than 3 years,product should have ISI/ISO certified ) & should have sterlization certificate from sterlizing source. |
|  | Sterile U- Draps with adhesive strip(Double layer Disposable),200 X 240 cm medical fabric not less than 60 GSM |
|  | Sterile U- Draps with adhesive strip(Double layer Disposable),160 X 200 cm medical fabric not less than 60 GSM |
|  | Sterile Knee O drape with adhesive strip(reinforced impermeable 3 layer fabric), 200X320 cm |
|  | Sterile Elbow Drape with adhesive strip(reinforced impermeable 3 layer fabric), 150 X 250 cm |
|  | Sterile Knee Drape with adhesive strip(reinforced impermeable 3 layer fabric) with absorbent centre sheet size 75x100 cm & total size 120 x 160 cm. |
|  | Sterile Hip U Drape with adhesive strip(reinforced impermeable 3 layer fabric)with absorbent centre sheet size 100x150 cm & total size200 x 300 cm. |
|  | Sterile Hip U Drape with adhesive strip(reinforced impermeable 3 layer fabric)with absorbent centre sheet size 100x150 cm & attached leg pouch, total size 200 x 240 cm,Medical Grade SMS (SMS=Spun +Melt bloun+Spun)Fabric. |
|  | Sterile Spinal drape(reinforced impermeable 3 layer fabric)with adhesive strip on central aperture ,8X12 cm,with absorbent centre sheet size 100x150 cm , total size150x300 cm. |
|  | Sterile Knee Arthoscopy drape (reinforced impermeable 3 layer fabric)sz:200X300cm with fluid collection pouch. |
|  | Sterile Cling Film Roll,12X100 cm. |
|  | Disposable sterile water proof sheets (double packed),150X200 cm. |
|  | Incise drape 20X30 cm |
|  | Incise drape 30X30 cm |
|  | Incise drape 30X45 cm |
|  | Incise drape 40X45 cm |
|  | Incise drape 45X60 cm |
|  | Povidone Iodine Impregnated Incise drape 20X(20-30) cm |
|  | Povidone Iodine Impregnated Incise drape 25X(30-40) cm |
|  | Povidone Iodine Impregnated Incise drape 30X(45-55) cm |
|  | Povidone Iodine Impregnated Incise drape 35X(55-65) cm |
|  | Povidone Iodine Impregnated Incise drape 40X60 cm |
|  | Camera Cover (Presterile disposable) with 2 tying string. |
|  | Cable Cover (Presterile) |
|  | BRACES, SPLINTS AND ORTHOSIS |
|  | Cervical Collar soft with eyelets -Contour to accommodate chin,Double layered foam,S/M/L. |
|  | Cervical Collar soft with eyelets -Contour to accommodate chin,Double layered foam,XL. |
|  | Cervical Collar hard (adjustable type) -Contour to accommodate chin, |
|  | Philadelphia Collar , S/M/L |
|  | Somi Brace ,Universal Size |
|  | Dorso lumber spinal orthosis Taylor's Spinal Brace,small |
|  | Dorso lumber spinal orthosis Taylor's Spinal Brace,medium |
|  | Dorso lumber spinal orthosis Taylor's Spinal Brace,large |
|  | A.S.H Brace(Hyper extension brace )adaptable to fit all sizes |
|  | L.S. Brace with four mouldable alluminium strip,Small |
|  | L.S. Brace with four mouldable alluminium strip,Medium |
|  | L.S. Brace with four mouldable alluminium strip,Large |
|  | L.S. Brace with four mouldable alluminium strip, Xtra Large |
|  | Clavicular Brace (Children) ,S/M/L |
|  | Clavicular Brace (Adult) ,S/M/L |
|  | Rib Belt Male- Breathable 6" width elastic band,velcro closure,S/M/L |
|  | Rib Belt Male- Breathable 6" width elastic band,velcro closure,XL |
|  | Rib Belt Female- Breathable 6" width elastic band,velcro closure, design to fit properly to female patient,S/M/L |
|  | Rib Belt Female- Breathable 6" width elastic band,velcro closure, design to fit properly to female patient,XL |
|  | Knee Cap(multi directional stretch)-Should be made of high quality elastic band of minimum10" width,Tubular design,S/M/L |
|  | Knee Cap(multi directional stretch)-Should be made of high quality elastic band of minimum10" width,Tubular design,XL |
|  | Knee Cap with patellar hole Neoprene material,Universal size |
|  | Elastic Knee support with hinges -should have minimum 9" elastic panel as base material,rigid metallic hinge splints(2No's),Multi panel velcro buckle closure for proper fitting,S/M/L |
|  | Elastic Knee support with hinges -should have minimum 9" elastic panel as base material,rigid metallic hinge splints(2No's),Multi panel velcro buckle closure for proper fitting,XL |
|  | Post operative Knee immobilizer -Should be made of breathable,foam fused fabric,lateral & posterior light-metal stays,pre contoured for easy walking,splint should be flexible so that it can be bent or straightened,buckle and velcro closure above & below knee for proper fitting,S/M/L |
|  | Post operative Knee immobilizer -Should be made of breathable,foam fused fabric,lateral & posterior light-metal stays,pre contoured for easy walking,splint should be flexible so that it can be bent or straightened,buckle and velcro closure above & below knee for proper fitting,XL |
|  | Knee brace with hinges with patellar cushion,S/M/L |
|  | Knee brace with hinges with patellar cushion,Xtra Large |
|  | Knee brace without hinges with patellar cushion,Small |
|  | Knee brace without hinges with patellar cushion,Medium |
|  | Knee brace without hinges with patellar cushion,Large |
|  | Knee brace without hinges with patellar cushion,Xtra Large |
|  | Range of motion Knee Brace,S/M/L |
|  | Range of motion Knee Brace,XtraLarge |
|  | Arm Sling Pouch -should be made up of Soft quality fabric,should have Non stretching strap,Adjustable,closure with velcro plastic buckles,S/M/L |
|  | Arm Sling Pouch -should be made up of Soft quality fabric,should have Non stretching strap,Adjustable,closure with velcro plastic buckles,XL |
|  | Shoulder Immobilizer,S/M/L |
|  | Shoulder Immobilizer,Xtra Large |
|  | Static wrist cock-up splint(Right & Left),S/M/L |
|  | Dynamic wrist cock-up splint(Right & Left). |
|  | Foot drop splint,S/M/L |
|  | Foot drop splint, XL |
|  | Boot and Derotation Bar Splint |
|  | Bolster ,S/M/L. |
|  | Triangular pillow for abduction of Hip. |
|  | Kramer wire splint :Width 7.5 cm,L 100 cms |
|  | Kramer wire splint :Width 10 cm, L 100 cms |
|  | Thomas splint (well padded thigh ring), small |
|  | Thomas splint (well padded thigh ring),medium |
|  | Thomas splint (well padded thigh ring),Large |
|  | Bohler brown splint , small |
|  | Bohler brown splint, medium |
|  | Bohler brown splint, Large |
|  | Bohlers stirrup, small |
|  | Bohlers stirrup ,medium |
|  | Bohlers stirrup ,Large |
|  | Screws for Bohler stirrup |
|  | Walker-Fixed Type |
|  | Walker- Adjustable & foldable(coated aluminium frame work with comfortable hand grips. |
|  | Auxillary crutches(adjustable height),Aluminium |
|  | Lumbar traction kit with rod (all sizes) |
|  | Cervical traction kit with rod (all sizes)- Soft foam padding |
|  | Pelvic traction kit with Rod. |
|  | B/K Skin traction kit with velcro strap. |
|  | Leg traction kit with pully. |
|  | Buck Pulley. |
|  | Plastic pulley single. |

fufonkdRrkZ laLFkk izeq[k ds gLrk{kj ----------------------------------------------------------

fufonkdRrkZ laLFkk izeq[k dk uke -----------------------------------------------------------------

¼Li"V v{kjkas½

laLFkk dk uke ,oa iw.kZ irk ,oa lhy -----------------------------------------------------------